- Interior Signage Policy & Procedure

The University of Nebraska at Kearney Wayfinding and Signage Standards Manual dated April 15, 2015. The current interior signage information is as follows:

- All signage will comply with the University of Nebraska at Kearney Wayfinding and Signage Standards Manual.

- All buildings will use the approved UNK standard signage design as shown in the UNK Wayfinding & Signage Standards Manual.

- All signage must comply with ADA regulations.

- All buildings shall have directories. If there is an existing directory, an analysis will be made whether to retain or purchase a new directory.

- In a suite of rooms off the main corridor where no receptionist is present, the rooms within the suite will have the standard signage.

- In a suite of rooms off the main corridor where a receptionist is present, signage is not required. However, when names are wanted to designate office occupants, the UNK standard signage design will be used.

- If there is no door and a sign is needed, the sign will be placed on the right side of the opening.

- All rooms along the main corridors of a building shall have signs.

- All signs are to be located on the latch side of the door at 5'0" on center above the floor and 4" away from the doorframe.

- All new construction or construction renovation projects shall include the standardized signage design and must be coordinated by the UNK Facilities project manager and UNK Facilities Campus Architect. Signs must be installed by UNK Facilities or a UNK Facilities approved vendor.

- Rooms that contain hazardous materials must be labeled in one of three ways.

  - Hazardous Chemical

  - Biohazardous Material

  - Radioactive Material

- UNK Interior Signage Procedure

- Interior Signage Not Related to a Construction Project

  - The department representative authorized to procure interior signage shall:

    - Review the University of Nebraska at Kearney Wayfinding and Signage Standards Manual.

    - Contact the UNK Campus Architect:
Alan Wedige
Office: 308-865-1700
Email: wedigead@unk.edu

    - Meet/discuss with Campus Architect signage needs, review sign options and cost.

    - Submit a Work Order for installation.

    - If custom signs are required, they must be compatible with the UNK standard signage design and the same color scheme as the rest of the signs in the building and a wavier must be obtained.

    - If planning services are needed contact the Campus Architect for an estimate of costs.

    - Questions? Contact the Campus Architect.

- Interior Signage Related to a Construction Project.

  - The Project Manager (PM) will:

    - Review any proposed new or revised room numbering with the Campus Architect for approval and coordination. The door/room numbering should be done at the end of the approved schematic design phase so that these numbers are the only door/room numbers used on the floor plans by the architects/engineers.

    - Meet/discuss with the Campus Architect & PM the project signage options/requirements, including but not limited to: timeline, budget, wayfinding and building directories.

  - The Campus Architect will:

    - Review any proposed new or revised room numbering with the PM for approval and coordination in all phases of the signage project.

    - Review the project signage needs, provide the PM with a signage schedule for review and approval. Any issues or concerns the PM has will be discussed and solutions offered. Once the signage schedule has been approved, the order will be placed. Changes to the approved schedule may have additional cost.

    - Receive approval from the PM for costs related to the project signage.

    - Provide the PM with the status and progress of the project signage.